## Sheet1
kappa_Srated_over_Pmax | Avg_Grid_Loss_kW | Avg_Voltage_Deviation_kV | Renewable_Penetration_pct | REO_Profit_CNY | System_Total_Profit_CNY | Effective_Reactive_Energy_kvarh | Support_Coverage_pct | Reactive_Utilization_pct | Loss_Reduction_pct | Voltage_Improvement_pct | RE_Penetration_Gain_pct_point | REO_Profit_Gain_CNY
1 | 81.1 | 0.2826 | 29.58 | 17160 | 64620 | 11363.6108 | 84.7451 | 47.2629 | 0 | 0 | 0 | 0
1.05 | 79.4492 | 0.27543 | 30.2721 | 17596.1826 | 65146.1708 | 12350.6454 | 92.106 | 46.349 | 2.0355 | 2.5388 | 0.69207 | 436.1826
1.1 | 78.5 | 0.2713 | 30.67 | 17846.98 | 65448.71 | 12918.1732 | 96.3384 | 44.9667 | 3.2059 | 3.9986 | 1.09 | 686.98
1.15 | 77.8981 | 0.26868 | 30.9223 | 18006.0048 | 65640.543 | 13278.0294 | 99.022 | 43.2704 | 3.948 | 4.9242 | 1.3423 | 846.0048
1.2 | 77.7275 | 0.26794 | 30.9938 | 18051.0854 | 65694.9241 | 13380.0419 | 99.7828 | 41.0784 | 4.1584 | 5.1866 | 1.4138 | 891.0854